## Slide 1: VoIP alarm monitoring

## Slide 2: Traditional alarm systems
Motion sensor
Smoke detector
Camera
Premise Controll Unit
Fire station
Security service
Central station
Phone call
Phone call
Phone call
ContactID protocol
Devices send DTMF signals to PCU
Information flows through dial up phone line to central station
If alarm is not flase the central station notifies the fire- or security station

## Slide 3: Weaknesses of traditional alarm systems
If an event triggers the PCU send alarms via dial up phone line to central station
In case a Phone line cut the PCU can’t dial and send the alarm to the central station

## Slide 4: Advantages of using VoIP
Motion sensor
Smoke detector
Camera
VoIP Phone call
Fire station
Security service
Phone call
Phone call
Premise Controll Unit
Central station
ContactID protocol
Your office
Alarm monitoring company
Alarm signals are sent through a VoIP phone call to the central station

## Slide 5: Advantages of using VoIP
Motion sensor
Fire station
Security service
VoIP registration
Phone call
Phone call
Premise Controll Unit
Central station
Smoke detector
Periodic ping request
Camera
With the help of the periodic ping request user can receive notification about network- and power failure
In this case the VoIP registration is not successful

## Slide 6: Advantage of using VoIP
Motion sensor
Security service
Connection loss
Phone call
Phone call
Premise Controll Unit
Central station
Smoke detector
Camera
Fire station
User can setup a unique alarm system where the central station can send notification if the connection is failed with the PCU.

## Slide 7: ContactID protocol
Standard way to notify central station
It is a 16 digit code with the data of the alarm
Contains:
  Object ID
  Partition ID
  Zone ID
Used by both: Traditional and VoIP alarm systems

## Slide 8: The ContactID protocol time-line
Off hook
Dial Tone
400Hz
1 sec
250-300 msec
On hook
Sent by PSTN
Sent by alarm system
Sent by central station
Dial digits
ContactID handshake
ContactID 16 Digits
ContactID kissoff
50 msec
50 msec
250 msec
100msec
100msec
1400Hz
1400Hz
Repeat until all events are reported
Start with a 400 hz dial tone as an invite call which contains the authentication data in dial digits
If central station accepts these 1400hz and 2300 hz tones the ContactID handshake occurs
After the authentication the alarm system sends the ContactID
If the central station received a kissoff occurs.
This process repeats until all events are reported

## Slide 9: Try the example
If you wish to create your own VoIP central station you can do it by using a C# application + Ozeki VoIP SIP SDK

## Slide 10: Analog Telephone Adapter (ATA)
Analog Telephone Adapter (ATA) is used to provide the phone line to the alarm system
It uses a G 711 codec to digitalize analog DTMF code to digital DTMF code which can be sent through VoIP network.

## Slide 11: Switching from traditional system to modern
Replace old phone line with ATA
Connect your PSTN line to an ATA.
Use G 711 codec to transmit voice over IP
The central station will receive notifications through the internet

## Slide 12: Solutions you can create using Ozeki VoIP SIP SDK
Create central alarm station
Build on-site alarm system
Create VoIP alarm service
Reliable
Compatible
Developer friendly

## Slide 13: Thank you for your attention!
For more information please visit:
http://www.voip-sip-sdk.com
or write us an e-mail to:
info@voip-sip-sdk.com